## Simple
what time is it | After hours | job type | electrical | problem | stairwell light out | action | Priority B <br> 1-8 hours <br> Area first. If they are closed or can't do the work, assign to Raul if he's still here. If not, call O&M.
what time is it | After hours | job type | electrical | problem | Repair/Replace Breaker | action | Priority B <br> 1-8 hours <br> <li>If Broken/Loose: then Schedule</li> <li> If not then wait until morning </li>
what time is it | After hours | job type | electrical | problem | Light bulb replacement | action | Priority B <br> 1-8 hours <br> Wait until morning
what time is it | After hours | job type | electrical | problem | Ballast | Parts scheduled ? | Yes | action | Priority B <br> 1-8 hours <br> <li>Wait until morning </li>
what time is it | After hours | job type | electrical | problem | Ballast | Parts scheduled ? | No | action | Priority B <li>Wait until parts are scheduled</li>
what time is it | After hours | job type | electrical | problem | Ballast | Parts scheduled ? | Replacement | action | Priority B <br> 1-8 hours <br> <li> Assign to Iram or Raul whoever comes in first or any other GMT available </li>
what time is it | After hours | job type | electrical | problem | Power out | Location Type | Building | action | Priority A <br> 1 hour <br> <li> Refer to Fire/Life/ Safety Flowchart</li>
what time is it | After hours | job type | electrical | problem | Power out | Location Type | Individual Room/ Apartment | action | Priority B <br> 1-4 hours <br> <li> Ask Which rooms and/or what part of the appartment is out?</li> <li>Assign it to the area first. If they are closed or can't do the work, assign to Raul if he's still here. If not, call O&M. </li>
what time is it | After hours | job type | electrical | problem | Elevator | action | Priority A <br> 1 hour <br>Ask the following question<li>On which floor is it stuck? </li> <li> Is anyone trapped inside? </li><li> Are the doors opened/closed?</li> Assign in to FMS O&M
what time is it | After hours | job type | electrical | problem | Sparking Outlet | action | Priority A <br> 1 hour <br> Assign to Raul if he's still here. If not, call O&M
what time is it | After hours | job type | electrical | problem | Emergency Lighting | action | Priority A <br> 1 hour <br> Assign to Raul if he's still here. If not, call O&M
what time is it | After hours | job type | electrical | problem | Exposed Wires | action | Priority A <br> 1 hour <br> Assign to Raul if he's still here. If not, call O&M
what time is it | After hours | job type | Life/Fire/Safety | problem | Security Grill | action | Priority C <br> 24 hours <br> Wait until morning
what time is it | After hours | job type | Life/Fire/Safety | problem | Sprinkler system | Location Type | Inside the building | action | Priority A <br> 1 hour <br> Ask the following questions <li> Is the sprinkler activated ? </li> <li> Is there any water damage ? </li> <br> Assign it to FMS_O&M
what time is it | After hours | job type | Life/Fire/Safety | problem | Sprinkler system | Location Type | Outside the building | action | Refer to landscape flow chart
what time is it | After hours | job type | Life/Fire/Safety | problem | Gas smell | action | Ask the student since how long has been smelling off gas ? <br> Instruct the student to turn off all the appliances, keep away from stove and open all the windows. <br> Has there been too many complaints for the same isse ? <li> <strong>Yes, Major Problem</strong> Inform DPS to evaluate and evacuate as necessary. Call O&M, Building Manager, and/or building AD. If instructed call the Gas company. </li> <li> Minor Problem, Wait until morning</li>
what time is it | After hours | job type | Life/Fire/Safety | problem | Smoke Detectors | Type | Activation | Location Type | Room | action | Priority A <br> 1 hour <br> Call DPS to evaluate the situation. Based on their input, call GMT.
what time is it | After hours | job type | Life/Fire/Safety | problem | Smoke Detectors | Type | Activation | Location Type | Hallway | action | Priority A <br> 1 hour <br> Call DPS to evaluate the situation. Based on their input, call , FMS-O&M.
what time is it | After hours | job type | Life/Fire/Safety | problem | Smoke Detectors | Type | Replacement | Location Type | Room | action | Priority A <br> 1 hour <br> Wait until morning for a gmt to address it.
what time is it | After hours | job type | Life/Fire/Safety | problem | Smoke Detectors | Type | Replacement | Location Type | Hallway | action | Priority A <br> 1 hour <br> Wait until morning for FMS_O&M to address it.
what time is it | After hours | job type | Life/Fire/Safety | problem | Exit Sign | Type | Light Bulb | action | Priority B <br> 1 – 8 Hours <br> Wait until morning
what time is it | After hours | job type | Life/Fire/Safety | problem | Exit Sign | Type | Sign | action | Priority C <br> 1 - 24 Hours Hours <br> Wait until morning
what time is it | After hours | job type | Life/Fire/Safety | problem | Fire Alarm | action | Priority A <br> 1 hour <br> Assign FMS_O&M
what time is it | After hours | job type | Life/Fire/Safety | problem | Fire Drill | action | Priority A <br> 1 hour <br> Assign FMS_O&M
what time is it | After hours | job type | Life/Fire/Safety | problem | Fire Panel | Type | Alarm Sounding | action | Assign it to FMS_O&M
what time is it | After hours | job type | Life/Fire/Safety | problem | Fire Panel | Type | Light Flashing | action | Wait until morning
what time is it | After hours | job type | Life/Fire/Safety | problem | Fire | action | Call everyone off the following: <li>Fire Department</li> <li> DPS</li> <li>O&M to have an electrician turn off the alarm </li> <li>Area Director & Building Manager</li> <li>Create a work order for HSM</li> <li> Call Landry </li> <li> Area if necessary to warn the residents</li>
what time is it | After hours | job type | Plumbing | problem | Water Shutdown | action | Priority B <br> 1 – 8 Hours <br> <li>If <strong>scheduled:</strong> Inform CSC </li><li> If <strong>Emergency shutdown: </strong> Inform resident off the emergency due to which shutdown was done.
what time is it | After hours | job type | Plumbing | problem | Toilet | Type | Overflowing | action | <li> <strong>Priority A: </strong> Page GMT </li><li><strong>Priority B: </strong><li>If water is dripping wait until morning</li><li> If there is stream of water, page gmts</li> </li>
what time is it | After hours | job type | Plumbing | problem | Toilet | Type | Leaking | action | <li> <strong>Priority A: </strong> Page GMT </li><li><strong>Priority B: </strong><li>If water is dripping wait until morning</li><li> If there is stream of water, page gmts</li> </li>